TECHNICAL DATA SHEET (TDS)

Crompton 6W LED Metal Recess Panel – Star DURA PRO

| Specification | Details |
| --- | --- |
| Brand | Crompton |
| Product Series | Star DURA PRO |
| Model Number | LSDRSDP-6W-CDL / LSDRSDP-6W-NW / LSDRSDP-6W-WW |
| Product Type | LED Metal Recess Panel |
| Shape | Round |
| Rated Wattage | 6 W |
| Available Colour | CDL – Cool Day Light / NW – Natural White / WW – Warm White |
| Cutout | 4 Inches |
| Case Lot | 40 Units |
| Surge Protection | In-built surge protection up to 4kV |
| Life | Greater than 20,000 burning hours |
| Warranty | 2 Years |
| Mounting | Recess mounting in false ceiling |
| Available Shape | Round / Square |
| Applications | Living Room / Study Room / Hotel & Retail Shop / Office |
| Design | Ultra Slim Panel |
| Body | Superior long-lasting metal body |

PRODUCT REFERENCE

The 6W Star DURA PRO details above are based on Crompton catalogue information for LSDRSDP-6W-CDL/NW/WW. The supplied 3W TDS was used only for the product-family construction and mounting terminology.

Crompton 6W LED Metal Recess Panel | LSDRSDP-6W-CDL / NW / WW