TECHNICAL DATA SHEET (TDS)
Crompton 6W LED Metal Recess Panel – Star DURA PRO
	Specification
	Details

	Brand
	Crompton

	Product Series
	Star DURA PRO

	Model Number
	LSDRSDP-6W-CDL / LSDRSDP-6W-NW / LSDRSDP-6W-WW

	Product Type
	LED Metal Recess Panel

	Shape
	Round

	Rated Wattage
	6 W

	Available Colour
	CDL – Cool Day Light / NW – Natural White / WW – Warm White

	Cutout
	4 Inches

	Case Lot
	40 Units

	Surge Protection
	In-built surge protection up to 4kV

	Life
	Greater than 20,000 burning hours

	Warranty
	2 Years

	Mounting
	Recess mounting in false ceiling

	Available Shape
	Round / Square

	Applications
	Living Room / Study Room / Hotel & Retail Shop / Office

	Design
	Ultra Slim Panel

	Body
	Superior long-lasting metal body



PRODUCT REFERENCE
The 6W Star DURA PRO details above are based on Crompton catalogue information for LSDRSDP-6W-CDL/NW/WW. The supplied 3W TDS was used only for the product-family construction and mounting terminology.
Crompton 6W LED Metal Recess Panel | LSDRSDP-6W-CDL / NW / WW




